SECTION 01 1000

SUMMARY

*****  The Design Professional shall include the following requirements as noted and complete this section with information for the specific project in coordination with PSFA Section 00 7200 - General Conditions*****

PART 1 - GENERAL

1.1	SUMMARY

A.	Section includes:

1.	Work sequence.

2.	Contractor use of site.

3.	Definitions.

4.	Abbreviations.

B.	Related documents and sections:

1.	Document 00 7200 - General Conditions of the Contract

a.	[Article 2]:  Basic responsibilities and rights of Owner.

b.	[Article 3]:  Basic responsibilities of Contractor.

c.	[Article 6]:  Owner's right to award separate contracts.

2.	Section 01 2300  - Alternates:  Alternates which [decrease or] increase scope of Project.

*****Eliminate the following language if no phasing requirements.  If multi-phasing is required, insert description of Work in each phase here. *****

1.2		WORK SEQUENCE

A.	Construct Work in phases to accommodate [Owner's occupancy requirements] [_____]:

1.	Phase 1 - [_____]:

a.	[_____].

b.	[_____].

2.	Phase 2 - [_____]:

a.	[_____].

b.	[_____].

*****Coordinate with procurement documents regarding any phasing requirements. Phasing time limits are to be provided on bid form.*****

[B.	Refer to Bid Form for time of completion for each phase.]

C.	Coordinate construction schedule and operations with [Owner] [Design Professional].

*****Include following subparagraph if roofing work included in Project and coordinate with procurement documents.*****

[ D.	See Bid Form for required roofing production rates on Project.  See also Section 01 3100 – Project Management and Coordination and Division 07 roofing specifications for related requirements.]

1.3		CONTRACTOR USE OF SITE

*****  Use the following paragraph if project is new construction and there are no restrictions on using site.  *****

A.	Contractor will have unrestricted use of site.

***** Use the following paragraphs if project is a renovation, includes additions to existing buildings, or there are restrictions on using site.  *****

A.	Existing building and site will be [occupied] [partially occupied] [vacated] during construction. [Cooperate with Owner to minimize conflict and to facilitate Owner's operations during regular and after-hours use].

B.	Contractor will have restricted use of site to allow [Owner occupancy] [Owner to conduct normal operations]  [installations by others]  [construction by others].

***** List restrictions and limitations on Contractor's use of site.  *****

1.	Access to site by trucks, equipment, and automobiles:  Limited to route and entrances designated in Section 01 5000 - Temporary Facilities and Controls.  Schedule construction traffic and material deliveries to site during time periods coordinated in advance with Owner.

2.	On-site construction vehicle and equipment traffic shall be limited to pathways, areas and time periods approved in advance by Owner to ensure safe site conditions.  Special care shall be taken during change of class periods, student arrival/departure times and around playgrounds, bus zones and established student pathways.  The Contractor shall strictly maintain close communication with designated school representative(s) on matters of on-site construction traffic scheduling and promptly inform them in advance of any significant changes to related pre-authorized arrangements.  Do not proceed with altered arrangements prior to designated school representative(s) approval.

3.	Parking: Contractor and work force [shall not use] [may use Owner-designated portions of] existing parking lots.  [Do not interfere with Owner's parking requirements.]

4.    Unless otherwise agreed to in advance by Owner, construction shall be performed only during these time periods:

a.	[_____].

b.	[_____].

5.	Construction activities shall be limited to areas of actual construction.  Unless otherwise agreed to in advance by Owner, restrict workmen from entering adjacent restricted areas:

a.	[_____].

b.	[_____].

6.	Existing student and staff toilet rooms are off-limits to Contractor unless they are not available for use by the school due to the approved schedule of work.

C.	Contractor shall make arrangements with Owner to secure any keys necessary for access to existing building and site areas so that the work can be performed.  The Contractor assumes sole responsibility for the security and use of school keys obtained from the Owner and shall not reproduce them nor lend them out during the progress of the work.

1.4		CONTRACTOR’S PERSONNEL JOBSITE RESTRICTIONS

A.	Contractor shall enforce the following requirements on his entire workforce throughout the progress of the Work:

2.    All personnel on site, directly or indirectly in the employ of Contractor, are restricted from any interaction with any Owner, Owner’s staff, students, or other members of the public while on, or adjacent to Owner’s property except through jobsite meetings conducted by the Design Professional and the Owner or as otherwise determined by the Owner.

2.	 Contractor’s personnel shall remain in their designated work areas.  Communications with any non-project related persons on or near the site shall be through Project Superintendent.

3.	 No firearms or other types of weapons, of any sort are allowed on site.  If member of the Contractor’s workforce is found to be in possession of a firearm, of any kind, they will be directed to leave immediately and will not be allowed to return.  This includes firearms found in company or private vehicles, tool boxes, or brought on site in any other manner;

4.	 Smoking is prohibited on any occupied school campus.  Smoking shall be limited to designated areas on a new, or un-occupied, site, if allowed in advance by Owner.

5.	 There shall be no use, possession, sale, and distribution of alcohol, drugs, or other controlled substances on its premises. The Contractor shall also prohibit the presence of an individual with such substances in their body from the workplace.

6.	 Any employee who is found in violation of requirements of these restrictions, or of any others within the Contract Documents, or who refuses to permit inspection shall be barred from the Project site at the discretion of the Owner in accordance with Subparagraph 13.8.4.1 of the General Conditions.

7.	Comply with Owner’s procedures for individual visual identification of Contractor’s workforce on school site and in occupied areas.  If identification badges are required make sure that they are worn at all times on site during the work.

PART 2 - PRODUCTS

Not used.

PART 3 - EXECUTION

Not used.

END OF SECTION