SECTION 01 7000

EXECUTION REQUIREMENTS

*****  The Design Professional shall include the following requirements as noted and complete this section with information for the specific project in coordination with PSFA Section 00 7200 - General Conditions*****

PART 1 - GENERAL

1.1	SUMMARY

A.	Section includes:

1.	Basic requirements for examination, preparation and installation.

2.	Requirements and limitations for cutting and patching incidental to work, including excavation and backfilling, and as required making several parts fit together.

3.	Progress cleaning.

B.	Related documents and sections:

1.	General Conditions:

a.	Paragraph 3.13:  Contractor's responsibilities regarding use of the site..

b.	Paragraph 3.14:  Contractor's responsibilities regarding cutting and patching operations.

c.	Article 12:  Uncovering and correction of work.

2.	Section 01 5000 - Temporary Facilities and Controls:  Temporary barriers and enclosures.

3.	Section 01 7700 - Closeout Procedures:  Final cleaning.

[4.	Section 02 4120 - Selective Demolition:  Minor demolition required to accommodate new construction and renovation.]

[3.	Section 07 9000 - Joint Protection:  Sealing of conduits, piping, and other items penetrating structure.]

1.2       LOCATION OF UNDERGROUND UTILITIES

A.	The Contractor shall arrange for all spotting of lines by utility companies in advance of any excavation work.

*****	Include following paragraph if utility line spots are required to be performed by Owner’s forces prior to any excavation on the site.  List specified procedures below.*****

- The Contractor shall arrange for spotting of lines by Owner’s forces in advance of any excavation work on the school site.  Procedures for arranging for line spots and obtaining clearance prior to excavation shall be strictly adhered to.  Owner’s procedures are as follows:

1.	[_______________]

- [_______________]

3.	[_______________]

PART 2 - PRODUCTS

2.1	MATERIALS

A.	Patching and replacement materials:  Those used for original installation.

B.	Product substitutions:  For any proposed change in patching materials, submit request for substitution in accordance with Section 01 6300 - Product Substitution Procedures.

PART 3 - EXECUTION

*****  Edit and modify this part to reflect actual scope, materials, and products of project.*****

3.1	ROOF PENETRATIONS

[A.	New roofing:

1.	Coordinate, locate and schedule roof penetrations prior to installation of new roof system.

2.	Coordinate roof penetrations such that installation does not void roof warranty.]

[B.	Existing roofing:  Prior to penetrating, cutting, and patching existing roofing, verify with Owner if roof is under warranty.  If warranted, employ roof contractor certified by manufacturer of roof system, make required inspections and notifications, and perform cutting and patching as required to ensure warranty is not violated.  Protect building interior during operations and return roof to weathertight condition after the work is performed.]

END OF SECTION