SECTION 01 7500

STARTING AND ADJUSTING

*****  The Design Professional shall include the following requirements as noted and complete this section with information for the specific project in coordination with PSFA Section 00 7200 - General Conditions*****

PART 1 - GENERAL

1.1	SUMMARY

A.	Section includes:  General procedures for starting, monitoring, and adjusting items of equipment and complete systems.

B.	Related sections:

1.	Section 01 3300 – Submittal Procedures:  HVAC & Controls Construction Checklists  .

2.	Section 01 7800 - Closeout Submittals:  Operation and maintenance manuals

*****  This section should be coordinated with sections in Division 23 - Heating, Ventilating and Air Conditioning, and Division 26 - Electrical specifying startup requirements for mechanical and electrical systems.  *****

[3.	Section 23 0593 - Testing, Adjusting, and Balancing:  Balancing of HVAC system.

4.	Section 23 0810 Performance Assurance for HVAC: Contractor’s Submittals; Contractor’s Responsibilities, Testing Preparation, General Testing Requirements; HVAC Systems, Subsystems & Equipment Testing Procedures. ]

PART 2- PRODUCTS

Not used.

PART 3 - EXECUTION

3.1	STARTING OF SYSTEMS

A.	Submit written Construction Checklists in accordance with Section 01 3300 - Submittal Procedures that equipment and systems have been properly installed and are functioning correctly.

END OF SECTION