SECTION 01 7700

CLOSEOUT PROCEDURES

*****  The Design Professional shall include the following requirements as noted and complete this section with information for the specific project in coordination with PSFA Section 00 7200 - General Conditions*****

PART 1 - GENERAL

1.1	SUMMARY

A.	Section includes:

1.	Closeout procedures.

2.	Final cleaning.

3.	Final inspection.

4.	Inspection held immediately prior to end of one year correction period.

B.	Related documents and sections:

1.	Document 00 7200 - General Conditions of the Contract,

a.	Paragraph 9.8:  Substantial Completion.

b.	Paragraph 9.9:   Partial occupancy.

c.	Paragraph 9.10: Closeout Requirements

d.	Paragraph 9.11:  Final completion and final payment.

e.	Subparagraph 12.2.2.1:  One year correction period for Contractor to correct defective work.

f.	Paragraph 3.13:	Use of site.

2.	Section 01 7000 - Execution Requirements:  Progress cleaning.

3.	Section 01 7500 – Starting and Adjusting:  Starting and adjusting items of equipment and complete systems.

4.	Section 01 7800 - Closeout Submittals:  Submittal of project record documents, operation and maintenance manuals, warranties, certificates of inspection, extra materials, and keys.

5.	Section 01 7900 – Demonstration and Training:  Demonstrations and training for Owner's personnel.

1.2	SUBSTANTIAL COMPLETION PROCEDURES

*****  At Substantial Completion all or part of Work is sufficiently complete so that Owner can occupy and use all or a portion of Work.  For large projects Work may be completed in phases each with a different date of Substantial Completion.  Modify the following paragraphs as required for specific project.  *****

A.	Prior to or in conjunction with submission of Contractor’s request for Substantial Completion, submit the items specified in Section 01 7800 - Closeout Procedures:

B.	Comply with Document 00 7200 - General Conditions of the Contract, Paragraph 9.8 for issuance of Certificate of Substantial Completion.

1.3	FINAL COMPLETION PROCEDURES

A.	Follow procedures as outlined in Article 9 of the General Conditions.

1.4	FINAL CLEANING

A.	Execute final cleaning prior to final inspection by methods and with materials and equipment suitable for commercial/institutional building maintenance.  See Paragraph 3.13 – General Conditions.

PART 2 - PRODUCTS

Not Used.

PART 3 - EXECUTION

Not Used.

END OF SECTION