SECTION 01 7800

CLOSEOUT SUBMITTALS

*****  The Design Professional shall include the following requirements as noted and complete this section with information for the specific project in coordination with PSFA Section 00 7200 - General Conditions*****

PART 1 – GENERAL

1.1	SUMMARY

A.	Section includes procedures for preparing and submitting closeout submittals:

1.	Project Record Documents.

2.	Operation and maintenance manuals and data.

3.	Warranties.

4.	Insurance information.

5.	Certificates of inspection and compliance.

6.	Maintenance tools.

7.	Extra materials.

8.	Keys.

9.	[___________]

B.	Related documents and sections:

1.	Document 00 7200 - General Conditions of the Contract:

a.	Paragraph 3.5:  Contractor's warranty that Work is of good quality and free from defects and conforms to Contract Documents.

b.	Subparagraph 9.9.1:  Commencement of warranties and correction period.

- Subparagraph 9.10.1:  Closeout requirements

d.	Paragraph 9.11:  Affidavits and Certificates required before Final Payment

e.	Subparagraph 12.2.2.1:  One year correction period for Contractor to correct defective work.

2.	Section 01 3300 - Submittal Procedures:  Submittal of shop drawings, product data, samples, installation instruction, reports and other submittals during construction prior to closeout.

- Section 01 7500 – Starting and Adjusting:  Starting and adjusting items of equipment and complete systems.

- Section 01 7500 – Starting and Adjusting:  Starting and adjusting items of equipment and complete systems.

- Section 01 7700 – Closeout Procedures:  Requirements for achieving Substantial Completion and Final Completion.

- Section 01 7801 – Equipment Inventory and Roofing Data Collection:  Requirements for completing equipment inventory and roofing data submittals.

- Section 01 9310 – 3-Year Extended Service & Maintenance:  Directory of service personnel and contact information for Owner’s reference; and fully-executed copy of 3-year extended warranty.

1.2	OPERATION AND MAINTENANCE DATA

*****  Each specification section requiring operation and maintenance data in manuals should cross reference to this section for general procedures.  Edit section numbers as necessary. *****

A.	Provide operation and maintenance data for:

[1.	Landscaping specified in Sections 32 8000 - Irrigation System and 32 9000 - Planting.]

[2.	Automatic gate operators specified in Section 32 3113 - Chain Link Fences and Gates.]

[3.	Motorized doors specified in [Section 08 3300 - Coiling Doors and Grilles] [Section 08 33 13 - Coiling Counter Doors] [Section 08 3613 - Overhead Sectional Doors] [Section 08 71 50 - Automatic door Operator].]

[4.	Operable partitions specified in Section 10 2226 - Operable Partitions.]

[5.	Food service equipment specified in Section 11 4000 - Food Service Equipment.]

[6.	Folding basketball backstops and gymnasium dividers specified in Section 11 6500 – Athletic & Recreational Equipment.]

[7.	Fume hood specified in Section 11 5300 - Laboratory Equipment.]

[8.	Motorized bleachers specified in Section 12 6613 - Telescoping Bleachers.]

[9.	Elevator specified in Section 14 2400 - Hydraulic Elevator.]

10.	Mechanical equipment, systems, and controls specified in Divisions 21, 22, and 23..

11.  Integrated automatic controls specified in Division 25.

12.	Electrical equipment, systems, and controls specified in Division 26, 27, and 28.

13.	Other equipment and systems for which operation and maintenance data is requested in individual specification sections.

- Provide written sequence of operations for each automated building system, including those related to the following:

2.	Life safety system(s).

3.	Electrical system(s).

- Mechanical system(s).

- Other automated building systems and components.

C.	Submission:

1.	Submit data to Design Professional in one or more binders.

2.	Submit for review one draft copy 30 days prior to need date or as otherwise specified.  This copy will be returned after review with Design Professional's comments.  Revise content as required.

3.	Once approved, submit  copies of final operation and maintenance manuals as follows:

c.	[1] [2]_hard copy(ies) and one [1] [2] electronic disk(s) of entire manual to District.

- One (1) electronic disk of entire manual to PSFA.

- [					]

4.	All manuals shall be submitted prior to or in conjunction with Contractor’s request for Substantial Completion and prior to demonstration and training session.

D.	Contents:

1.	Appropriate design criteria.

2.	Equipment parts list.

3.	Equipment inventory data (on Owner-provided electronic forms) and parts lists.

4.	Roofing data (on Owner-provided electronic forms).

5.	Operating instructions.

6.	Maintenance instruction for equipment and finishes.

7.	Shop drawings and product data.

- Written sequence of operations for each automated building system [including those related to the following:]

a.	 Life safety system(s).

  - Electrical system(s).

  - Mechanical system(s).

d.	[					]

9.	Testing, balancing, and other field quality reports.

10.	Copies of warranties.

11.	Directory listings

12.	Other material and information as indicated in individual specification sections and as necessary for operation and maintenance by Owner's personnel.

E.	Form:

1.	Hard copies of manuals shall be 8-1/2 x 11 inch text pages bound in three ring expansion binders with a hard durable plastic cover.  All documents to be originals unless otherwise noted.

2.	Prepare binder covers with printed subject title of manual, title of project, date, and volume number when multiple binders are required.  Printing shall be on face and spine.

3.	Internally subdivide the binder contents with divider sheets with typed tab titles under reinforced plastic tabs.  Place dividers at beginning of each chapter, part, section, and appendix.

4.	Provide a table of contents for each volume.

5.	Provide directory listing as appropriate with names addresses, and telephone numbers of Design Professional, Contractor, subcontractors, equipment suppliers, and nearest service representatives.  Provide emergency 24-hour service contact information for all subcontractors, service contractors and principal vendors.

6.	Provide  electronic data disk(s)  with each manual including all data required to be submitted electronically.  Include hard copy with each manual.

1.3	WARRANTIES

*****  Each specification section requiring special or extended warranties should cross reference to this section for submittal procedures.    *****

A.	Provide duplicate notarized copies of special and extended warranties as required by individual specifications sections.

B.	Submit warranties to Design Professional prior to or in conjunction with submission of Notice of Substantial Completion.

C.	Execute and assemble warranties from subcontractors, suppliers, and manufacturers.

D.	Provide Table of Contents and assemble in three ring binder with a hard durable plastic cover.  Internally subdivide the binder contents with permanent page dividers, with tab titling clearly typed under reinforced laminated plastic tabs.

E.	For items of work delayed beyond date of Substantial Completion, provide updated warranty submittal within ten days after acceptance, listing date of acceptance as start of warranty period.

1.4	CERTIFICATES OF INSPECTION AND COMPLIANCE

A.	For inspections throughout the construction period required by regulatory agencies, obtain and maintain certificates issued to show compliance.

B.	Assemble certificates and any formal written evidence of regulatory compliance  in three ring binder with table of contents and submit to Design Professional prior to or in conjunction with submission of Notice of Substantial Completion.

C.	Certificate of Occupancy:  Prior to Substantial Completion, obtain from authorities having jurisdiction Certificate of Occupancy.  Submit with Notice for Substantial Completion.

1.5	INSURANCE INFORMATION

A.	Submit prior to or in conjunction with submission of Contractor’s request for Substantial Completion information regarding insurance including change over requirements and insurance extensions.

1.6	MAINTENANCE TOOLS

A.	Provide any hardware and software tools (including software keys) that are proprietary to the mechanical systems and that may be necessary for service during their lifecycle.

B.	Tools shall be as provided or recommended by manufacturers of installed equipment and systems.  Types and sizes shall be as specifically required for installed products.

C.	Tools shall be available and their use demonstrated during training sessions specified in Section 01 75 00 - Starting, Adjusting, and Demonstrating.

D.	Prior to, or concurrent with Contractor’s request for Substantial Completion, deliver maintenance tools to Owner's representative.  Prepare inventory of tools provided and obtain receipt from Owner's representative.

1.7	EXTRA MATERIALS

*****  Each specification section requiring extra materials should cross reference to this section for submittal procedures.  *****

A.	Provide spare parts and maintenance materials in quantities specified in individual sections.

B.	Extra materials shall be produced by the same manufacturer of and compatible with the installed products.

C.	Prior to or concurrent with submission of Notice of Substantial Completion deliver extra materials in unopened containers to Owner's representative at designated storage area at project site and place in location as directed.  Obtain receipt from Owner's representative.

D.	During one year correction period:

1.	Extra materials may be used by Contractor to replace expendable and normally worn parts.

2.	Extra materials used by Contractor for replacement of defective products shall be replaced at no additional cost to Owner.

1.8	KEYS

A.	Prior to or in conjunction with submission of Contractor’s request for Substantial Completion, provide Owner with all keys for:

1.	Door hardware locks after re-keying in accordance with Section 08 71 00 - Door Hardware.

2.	Access doors and panels.

3.	Electrical  panel boards  and other equipment.

B.	Provide a minimum of two keys for each lock.

C.	Clearly label each key as to function and location of lock.

D.	Obtain receipt from Owner's representative.

- Prior to, or in conjunction with Final Completion, return all keys lent out by Owner to Contractor for access to existing spaces, gates, etc. for the Work.  Obtain receipt from Owner.

*****	Include the following paragraph if Owner requires return of other items lent to Contractor for use on Project such as security badges, passes, signage, etc. and other security components listed in Article 9.10.1 – General Conditions of the Contract.	*****

  - MISCELLANEOUS SECURITY-RELATED  MATERIALS AND COMPONENTS

- Prior to or in conjunction with Final Completion and in accordance with Article 9.10.1 – General Conditions of the Contract, deliver to Owner and obtain receipt for:

1.	All miscellaneous security-related items loaned to Contractor during the progress of the job, including:

a..	Owner-furnished security badges and passes

b.	Owner-furnished construction signs

c.	[________________]

[2.	All security software and codes.]

PART 2 - PRODUCTS

Not Used.

PART 3 - EXECUTION

Not Used.

END OF SECTION