SECTION 01 7900

DEMONSTRATION AND TRAINING

*****  The Design Professional shall include the following requirements as noted and complete this section with information for the specific project in coordination with PSFA Section 00 7200 - General Conditions*****

PART 1 - GENERAL

*****  This section should be edited to reflect, size, type of project, and complexity of systems being installed.  It needs to be verified that Owner has facility management staff that will attend and benefit from demonstration and training,  Training should be focused on experience, job designation, and knowledge of staff.  Do not over specify.  *****

1.1	SUMMARY

A.	Section includes:  Training of Owner's designated personnel in operation and maintenance of equipment and systems.

B.	Related sections:

1.	Section 01 7800 - Closeout Submittals:  Operation and maintenance manuals.

1.2	SUBMITTALS

A.	Provide in accordance with Section 01 3300 - Submittal Procedures:

1.	List of names, resumes, and qualifications of personnel conducting training sessions.

2.	Preliminary schedule listing times, dates, and outline showing organization and proposed contents of training sessions for approval by Design Professional and Owner.

3.	Copies of training manuals and other materials to be used in training sessions for approval by Design Professional and Owner.

4.	Provide Owner additional copy of audio visual material on the same media used in training sessions.

5.	[3] [_____] copies of training manuals for future use in training by Owner.

6.	Submit report within 1 week after completion of training that sessions have been satisfactorily completed.  Give times, dates, list of persons trained, and summary of instructions.

1.3	QUALITY ASSURANCE

A.	Personnel conducting demonstration and training sessions shall be knowledgeable of installation, operation, sequence of operations, and maintenance of specific project equipment and systems.  Where appropriate manufacturer's representatives shall conduct training.

PART 2- PRODUCTS

2.1	TRAINING MATERIALS

A.	Training manuals:  Loose leaf notebook format with agenda and objectives of each lesson.

1.	Manuals shall describe function, operation, sequence of operations, and maintenance of various items of equipment and be suitable for personnel with high school education.

2.	Manuals shall be suitable for future training of Owner personnel by Owner staff.

3.	Manuals shall useful reference for staff maintaining facility.

B.	Visual aids:  Provide charts, handouts, overhead projector slides, electronic presentations, and other visual aids required to make effective presentation and facilitate training.

1.	Equipment needed for showing visual training aids shall be provided by Contractor.

2.	Visual aids shall be suitable for use by Owner's staff to train additional personnel in the future.

PART 3 - EXECUTION

2.1	SCHEDULING

A.	Schedule demonstration and training sessions after equipment and systems have been completely installed, startup completed, and adjustments made.  Single demonstration and training session shall be conducted of all items prior to substantial completion.  Schedule with Design Professional to accommodate Owner's representatives.

2.2	DEMONSTRATION AND TRAINING

*****  Each specification section requiring demonstration and training for Owner's representatives should cross reference to this section for general procedures.  Edit section numbers as necessary.  *****

A.	Provide demonstration and training session to emphasize operation, sequence of operations, use, and maintenance of installed items and systems:

[1.	Automatic gate operators specified in Section 32 3113 - Chain Link Fences and Gates.]

[2.	Motorized doors specified in [Section 08 3300 - Coiling Doors and Grilles] [Section 08 3313 - Coiling Counter Doors] [Section 08 3313 - Overhead Sectional Doors] [Section 08 7150 - Automatic Door Operator].]

[3.	Operable partitions specified in Section 10 2226 - Operable Partitions.]

[4.	Motorized projection screens and projector mounts specified in Section 11 5200 - Audio-Visual Equipment.]

[5.	Food service equipment specified in Section 11 4000 - Food Service Equipment.]

[6.	Folding basketball backstops and gymnasium dividers specified in Section 11 6500 - Athletic & Recreational Equipment.]

[7.	Fume hood specified in Section 11 5300 - Laboratory Equipment.]

[8.	Motorized bleachers specified in Section 12 6613 - Telescoping Bleachers.]

[9.	Elevator specified in Section 14 2400 - Hydraulic Elevators.]

10.	Mechanical systems specified in Divisions 21, 22 and 23.

11.	Integrated Automated Controls specified in Division 25.

12.	Electrical systems specified in Division 26, 27 and 28.

13.	Other items and systems as designated by Design Professional or requested by Owner.

B.	Conduct at project site using actual installed equipment and systems.

C.	Owner shall be responsible for designating and notifying personnel to attend and ensuring attendance at scheduled sessions.

D.	Have copies of operation and maintenance manuals specified in Section 01 7800 - Closeout Submittals available.  Use as training aids.  Include training on each of written sequence of operations contained in the Operations & Maintenance Manual.

E.	Owner shall have right to record or video tape demonstration and training sessions.

END OF SECTION